측모두부방사선사진과 측면얼굴사진

중첩 시 적합도에 관한 연구

박 지 영

전남대학교 대학원 치의학과

(지도교수 : 이기헌)

(초록)

본 연구는 측모두부방사선사진과 측면얼굴사진 중첩시 두 상의 적합도에 대해 알아보기 위하여 시행되었다.

임상검사를 통하여 20대 성인 정상교합자 52명을 선발하여 대상자의 우측 안면부의 미간부(Glabella, G), 관골부(Zygoma, Zy), 인중부(Philtrum, Ph), 하악 우각부(Soft tissue gonion, Go'), 턱끝 부위(Soft tissue pogonion, Pog'), 턱밑 부위(Soft tissue menton, Me')에 금속구를 부착한 상태에서 두부자세재현기, 두부고정대를 이용하여 측모두부방사선사진과 측면얼굴사진을 각각 촬영하였다. Image analyzer를 이용하여 코와 상순 부위를 기준으로 측모두부방사선사진과 측면얼굴사진을 중첩한 후 방사선사진과 얼굴사진에 나타난 금속구의 적합정도를 알아보기 위하여 G-Ph 등 14개의 거리계측항목, Go'-G-Ph 등 28개의 각도계측항목, 그리고 G-Zy-Go' 등 5개의 면적계측항목을 설정하고 이를 계측 및 비교 분석하여 다음과 같은 결과를 얻었다.

1. 거리계측항목을 통하여 방사선사진과 얼굴사진 간의 적합도를 살펴본 결과 Zy-Me', Go'-Ph를 제외하고 Zy, Go'이 포함된 모든 계측항목에서 방사선사진과 얼굴사진 간 유의한 차이를 보였다.

2. 각도계측항목을 통하여 방사선사진과 얼굴사진 간의 적합도를 살펴본 결과 얼굴 윤곽선 상에 위치하여 각도를 이루는 Me'-Ph-Pog', Ph-Pog'-Me', Ph-Me'-Pog', G-Me'-Ph, Me'-G-Ph와 Ph-Go'-Pog', Go'-Zy-Me', G-Go'-Me'을 제외한 모든 항목에서 방사선사진과 얼굴사진 간 유의한 차이를 보였으며 특히 Zy를 포함하여 각도를 이루는 항목은 두 이미지간 차이가 크게 나타나는 경향을 보였다.

3. 면적계측항목을 통하여 방사선사진과 얼굴사진 간의 적합도를 살펴본 결과 모든 항목에서 유의한 차이를 나타내었으며 G-Zy-Go' 계측항목을 제외한 모든 항목에서 얼굴사진에 비해 방사선사진의 면적이 크게 나타나는 양상을 보였다.

4. 방사선사진과 얼굴사진 중첩시 얼굴윤곽선 부위는 비교적 일치하는 경향을 보였으나 방사선사진의 Go'는 얼굴사진의 Go'에 비해 후상방에, 방사선사진의 Zy는 얼굴사진의 Zy에 비해 후하방에 위치하는 경향을 보였다.

이상의 결과는 측모두부방사선사진과 측면얼굴사진의 중첩이 부위에 따라 정확하게 이루어질 수 없음을 보여주고 있으며 코와 상순 부위를 기준으로 한 두 상의 중첩 시 얼굴윤곽선 부위는 비교적 잘 일치하여 측모의 변화만을 분석할 경우 큰 문제가 없으나 3차원적으로 방사선사진과 얼굴사진 합성 프로그램 개발을 위해서는 방사선사진과 얼굴사진의 확대율에 대한 고려가 필요하며 이에 대한 보정이 필요함을 시사하였다.

Comparison of geometric displacement between

lateral cephalometric radiograph and photograph

Ji-Young Park

Department of Dentistry

Graduate School, Chonnam National University, Gwangju, Korea

( Directed by Assistant Professor Ki-Heon Lee )

(Abstract)

The purpose of this study was to compare the geometric displacement between the lateral cephalometric radiograph and photograph. For the present study, 52 subjects with Angle class 1 occlusion and no severe skeletal discrepancy were selected. The Head Posture Aligner and the standardized camera set up were adopted to obtain photographs and radiographs in a standardized manner. Six metal markers were placed on the subject's right side face representing Glabella (G), Zygoma (Zy), Philtrum (Ph), Soft tissue Gonion (Go'), Soft tissue Pogonion (Pog'), Soft tissue Menton (Me') before taking the  lateral cephalometric radiograph and photograph. The 14 linear, 28 angular, and 5  area differences were measured after superimposition of the radiograph and photograph using nose and upper lip as a reference on the Image Analyzer. The paired t-test and the percentage of differences were used to compare the geometric displacement of metal markers between the lateral cephalometric radiograph and photograph. Through the statistical analysis, the following results were obtained.

1. When the linear measurements were compared between the lateral photograph and radiograph, the measurements related to Zy and Go' except Zy-Me' and  Go'-Ph showed significant differences on both images.

2. On the angular comparison, the overall measurements except Me'-Ph-Pog', Ph-Pog'-Me', Ph-Me'-Pog', G-Me'-Ph, Me'-G-Ph, Ph-Go'-Pog', Go'-Zy-Me' and G-Go'-Me' showed significant differences on both images and especially the measurements related to Zy showed greater difference.

3. In area measurements, the overall measurements except G-Zy-Go' showed enlargement of the radiograph.

4. On the superimposition of the radiograph and photograph, the measurements related to the profile tended to be well matched. However, Zy on the lateral radiograph tended to be displaced downward and backward more than Zy on the photograph. Furthermore Go' on the lateral radiograph tended to be displaced upward and backward more than Go' on the photograph.

The results suggested that the precise superimposition between the lateral cephalometric radiograph and photograph was not feasible due to differences in enlargement.