3차원 두부방사선규격사진 영상 제작시

컴퓨터에 의한 계측점 보정효과에 관한 연구

류 혜 영

전남대학교 대학원 치의학과

(지도교수: 황 현 식)

(초록)

정확한 3차원 두부방사선규격사진 영상을 얻기 위해서는 한 계측점이 정모와 측모 방사선규격사진에서 동일하게 설정되는 것이 필요하다. 본 연구는 3차원 두부방사선규격사진 영상 제작시 컴퓨터에 의한 계측점 보정의 효과를 알아보기 위하여 시행되었다.

성인 30명을 대상으로 두부자세재현기를 이용하여 촬영한 정모 및 측모 두부방사선규격사진을 biplanar radiography 컴퓨터 프로그램에 입력한 후 정모 및 측모 방사선규격사진에서 계측점을 선정하고 이를 지나는 정모 및 측모 방사선 주사선이 서로 일치하게끔 컴퓨터 상에서 계측점을 보정하였다. 보정전 계측점으로 형성된 3차원 방사선사진 계측치와 보정후 계측점으로 형성된 3차원 방사선사진 계측치를 3차원 CT 영상 계측치와 비교하고 그 차이를 분석하여 다음과 같은 결과를 얻었다.

1. 보정전 계측치와 보정후 계측치를 3차원 CT 계측치와 비교한 결과 보정에 의하여 그 차이가 전반적으로 감소하는 양상을 보였다.

2. 특히 고경을 나타내는 계측항목은 보정에 의하여 3차원 CT 계측치와의 차이가 통계적으로 유의하게 감소하였다.

3. 폭경이나 전후방 거리를 나타내는 계측항목은 본 연구에서 사용된 보정에 의하여 3차원 CT 계측치와의 차이가 줄어들지 않는 것으로 나타났다.

이상의 연구결과는 3차원 두부방사선규격사진 영상 제작시 컴퓨터에 의한 계측점 보정이 반드시 필요함을 시사하였다.

Effect of computer-assisted landmark correction in three-dimensional cephalogram

Hye-Young Ryu

Department of Dental Science

Graduate School, Chonnam National University, Gwangju, Korea

( Directed by Professor Hyeon-Shik Hwang )

(Abstract)

For obtaining accurate three-dimensional (3D) cephalogram, it is necessary to identify the same landmark on both frontal and lateral  cephalograms. The purpose of the present study was to evaluate the effect of computer-assisted landmark correction in 3D cephalogram.

The frontal and lateral cephalograms taken orthogonally with the help of the Head Posture Aligner in 30 individuals were scanned into biplanar radiography computer program. Landmarks were selected and corrected until the X-ray lines in two cephalograms meet at the common intersection.

From the comparison of the difference between before- and after-correction 3D cephalometric measurements with 3D CT measurements, following results were obtained.

1. As the results of comparison of the difference between before- and          after-correction 3D cephalometric measurements with 3D CT                 measurements, the value of after-correction showed smaller tendency.

2. All of height measurements showed statistically significant decreases of the difference between 3D cephalometric measurements and 3D CT measurements by landmark correction.

3. Width and depth measurements did not show decrease of the difference between 3D cephalometirc measurements and 3D CT measurements by landmark correction.

The results of the present study show computer-assisted landmark correction is necessary for the development of 3D cephalogram and suggest a combined use of the submento-vertex cephalogram with the frontal and lateral cephalograms for an accurate 3D cephalogram.