치아크기 계측오차에 관한 연구

심 은 주

전남대학교 대학원 치의학과

(지도교수 : 황현식)

(초록)

본 연구는 석고모형 분석 중 치아크기 측정시 발생할 수 있는 오차를 줄이고 측정의 재현도와 정확성을 향상시키는데 도움이 될 수 있는 방안을 모색하고자 시행되었다. 치아밀집 치열 특징을 지닌 상하악 20조의 석고모형을 대상으로 하여, 5명의 조사자가 각 치아의 근원심 폭경을 디지털 버니어 캘리퍼스를 사용하여 2주 간격으로 3회 측정하여 실험 측정치를 얻은 다음,측정에 이용된 석고모형을 근원심 접촉점 부위에서 개개 치아로 분리한 후,마이크로미터를 이용하여 측정한 표준치와 비교 ·분석하여 다음과 같은 결과를 얻었다.

1. 3회 측정에 따른 재현도는 조사자별 치아별로 큰 차이를 나타내지 않았다. .

2. 표준치와 비교한 계측오차는 조사자별 또는 치아별로 차이를 보였다.

3. 표준치와의 오차는 전치에서 구치로 갈수록 증가하여 제1대구치에서 가장 큰 차이를 나    타내었다.

4. 표준치와 비교시 전반적으로 작게 측정하는 경향을 보였으며 이에 대한 치아별, 조사자별    차이가 두드러졌다.

5. 전반적인 오차 발생 정도는 치아밀집 정도와 유의한 상관성을 보이지 않았다.

이상의 결과는 교정증례 분석시 치아크기 계측오차 발생 가능성의 고려가 필요함을 시사하였다

A Study on The Error of Tooth Size Measurements

Eun-Ju Sim

Faculty of Dental science, Chonnam National University

Graduate School

(Directed by associated professor Hyeon-Shik Hwang)

(abstract)

Precise and accurate measuring of tooth size is essential procedure in orthodontic diagnosis. The purpose of this study was to evaluate the reproducibility and accuracy of tooth size measurements with regard to tooth and investigator.

Five investigators measured the size of one side of teeth, from central incisor to first molar, on 20 sets of casts that show a moderate degree of crowding. Mesio-distal width was measured with digital vernier calipers in each tooth and this procedure was repeated three times at two weeks interval. To obtain a standard measurement for each tooth, dental casts were cut into individual tooth, and its width was measured with micrometer. The difference between the measurement from dental cast and the standard measurement was defined as the measurement error. Through various statistical analyses, following results were obtained.

1. The reproducibility did not show significant differences with regard to tooth or           investigator.

2. The measurement error showed some difference with regard to tooth and investigator.

3. The magnitude of the measurement error showed increasing tendency from anterior to     posterior teeth with maximum value in the first molar.

4. While the measurement obtained on study casts generally showed smaller number        compared to standard measurements, the direction of the difference showed variability     according to tooth or investigator.

5. The measurement errors did not show significant correlations with the degree of         crowding.

The results of the present study indicated that the possibility of tooth size measurement error should be taken into consideration when diagnosing an orthodontic case.