의료기구 소독제로서 은나노 용액의

항균효과에 관한 연구

김  상  록

전남대학교 대학원 치의학과

(지도교수 : 황현식)

(초록)

본 연구는 인체 무해성의 장점을 가진 은나노 용액이 의료기구의 소독제로서 활용 가능성이 있는지 알아보고자 시행되었다. 5 nm 또는 15 nm 입자크기의 그리고 1, 10, 50 또는 100 ppm 농도의 은나노 용액과 교차감염의 원인균인 Staphylococcus aureus를 대상으로 하여 디스크 확산법으로 항균효과를 평가하는 한편, 세균 배양액에 입자크기 및 농도에 따른 은나노 용액을 첨가하여 세균의 생육에 따른 흡광도 변화를 항균효과가 입증된 버콘 그리고 아무 처리도 하지 않은 경우와 비교분석하여 다음과 같은 결과를 얻었다.

1. 디스크 확산법을 이용하여 항균효과를 살펴본 결과 100 ppm 농도에서 투명환이 관찰되어 은나노 용액이 항균효과가 있음을 나타내었으며, 15 nm의 경우보다 5 nm에서 그 효과가 높은 양상을 나타내었다.

2. 흡광도 측정을 통하여 항균효과를 농도별, 입자 크기별로 살펴본 결과 1 ppm 농도의 은나노 용액은 입자크기에 관계없이 모든 실험에서 무처리군과 별다른 차이가 없어 항균효과가 없음을 보여주었다.

3. 10 ppm 농도의 경우는 무처리군에 비하여 높은 항균효과를 보였으나 대조군인 버콘보다 낮은 항균효과을 나타내었다.

4. 50 ppm과 100 ppm 농도의 용액은 모든 경우 대조군인 버콘과 유사한 양상을 보여 높은 항균효과가 있음을 보여주었다.

이상의 연구결과는 은나노 용액이 의료기구 소독제로서 효과적으로 사용될 수 있음을 보여주었다.

Antibacterial Effect of Nanosilver Suspension

as Disinfectant of Medical Instrument

Sang Rok  Kim

Department of Dental Science

Graduate School, Chonnam National University, Gwangju, Korea

( Directed by Professor Hyeon-Shik Hwang )

(Abstract)

The purpose of this study was to evaluate the possibility of utilizing nanosilver suspension as a disinfectant of medical instrument. In the present study, the antibacterial effect of nanosilver suspension was investigated against Staphylococcus aureus using the 5 or 15 nm particle size and various concentrations; 1, 10, 50 and 100 ppm. The effect was evaluated by the disc diffusion method and optical density change after adding nanosilver suspension into bacteria culture solution. The effect of different nonoparticle size and concentrations were evaluated and it was compared to Virkon and no treatment as well. The following results were obtained.

1. As a result of disc diffusion method, it was shown that nanosilver suspension had antibacterial effects with transparent ring observed in 100 ppm concentration, and the effect showed a higher tendency at 5 nm than at 15 nm of particle size.

2. In the evaluation by optical density change, 1 ppm concentration showed no significant differences with no treatment group in all experiments indicating that 1 ppm concentration had no antibacterial effect.

3. Ten ppm concentration showed higher antibacterial effect than the no treatment group whereas lower effect than the Virkon.

4. Fifty and 100 ppm concentration presented similar results with the Virkon indicating that these concentrations had sufficient antibacterial effects.

The above results suggest that nanosilver suspension can be effectively used as a disinfectant of medical instrument.