Assessment of Metal Artifact in

Three-Dimensional Surface Model by

Cone-Beam Computed Tomography

Wael Nabha

Department of Dental Science

Graduate School, Chonnam National University

(Supervised by Professor Hyeon-Shik Hwang)

(Abstract)

The aim of this study was to assess the artifact development induced by metal restorations in cone-beam computed tomography (CBCT) dental images. After fabrication of fifteen specimens which consisted of four extracted human teeth, the first and second premolars and the first and second molars, CBCT scans were obtained before and after amalgam restoration on the second premolar. Five consecutive three-dimensional (3D) surface models were obtained from each specimen according to the increase of restoration size no restoration, small occlusal (O) cavity, large O cavity, disto-occlusal (DO), and mesio-occluso-distal (MOD) cavity. After surface registration of each restoration model with no restoration model as the control, the discrepancies between the two images were evaluated and compared using the variables of the degree of maximum discrepancy, artifact area, and artifact intensity. The results were obtained as follows:

1.	Artifact occurred not only on the second premolar but also on the adjacent teeth, the first premolar and the first molar.

2.	The artifact was developed mostly on buccal and lingual surfaces,occlusal artifact was not significant.

3.	The artifact development increased significantly with the increase of amalgam restoration size.

The results showed that metal restoration induces artifact considerably and results in significant alteration of 3D surface dental model from CBCT scan.

3차원 콘빔CT 영상에서 금속에 의한

artifact 발현 평가

Wael Nabha

전남대학교 대학원 치의학과

(지도교수 : 황 현 식)

(초록)

서론: 본 연구는 콘빔CT 치열영상에서 금속 수복물에 의해 형성된 artifact의 발현을 평가하기 위해 시행되었다.

방법: 발거된 제1소구치, 제2소구치, 제1대구치와 제2대구치를 치열형태로 석고모형 블록에 매식하여 15개의 표본을 제작한 후 제2소구치에 와동을 형성하고 아말감으로 수복한 후, 수복 전후의 콘빔CT 스캔데이터를 획득하였다. 콘빔CT 스캔을 시행한 다음, 교합면에 작은 O 와동, 큰 O 와동, 그리고 DO 와동, MOD 와동을 순차적으로 형성하고 아말감 충전을 시행하고 각각 콘빔CT 스캔을 시행하여 표본당 5개의 3차원 모델을 구하였다. 수복 전 영상과 아말감 수복물의 크기에 따른 4개의 영상을 각각 중첩하여 아말감 수복물이 3차원 영상 artifact에 미치는 영향을 평가하였다.

결과: Artifact는 수복치아뿐 아니라 인접치인 제1소구치와 제1대구치에서도 나타났으며, 교합면에서는 미미하였고 주로 협면과 설면에서 발현되었다. Artifact 발현 정도를 높이, 면적 등으로 비교한 결과 아말감 수복물 크기가 증가함에 따라 유의미하게 증가하는 양상을 보였다.

결론: 이상의 연구결과 금속 수복물이 있는 상태에서 콘빔CT 스캔시 artifact로 인해 심각한 3차원 영상 변형이 나타날 수 있음을 알 수 있었다.